## Sheet1
VTK Series- FAQ about Data Collection
When I start the software the module port is not found | Verify connections to cone & data pack. Verify that datapack is powered on. Check the drop down box on the module serial port in system set up, if there are several choices you can manually try each one. If none work then go to device manager and look for any yellow exclamation marks on USB devices. This will usually indicate the drivers are not loaded. Once the exclamations are cleared then the device should show up under Ports- Com & LPT. To verify it is the datapack; unplug the USB cord and wait a minute. Then plug it in and one or two ports will show up in Ports. The lower number port (if two found) should then be entered in system set up Module Serial port. Occasionally BLUETOOTH or computer radios will interfere with the USB operation and will need to be disabled to allow CPTSND to work.
When I go to detect VTK DAS the data pack is found but my cone is not | In system setup click on DETECT ON STARTUP and make sure the cone type you have connected is checked, along with any module that may be mounted to it. Also verify that cables are fully seated. If still not found try a second cone and/or cable
I took a baseline when the cone was not properly prepped. Can I redo it or must I start over? | Yes, it can be taken several times, if need be, once the filename is set and before START is pressed
My baseline readings are not staying at zero | Minor fluctuations are normal. If the readings are drifting this could be because the cone was colder or warmer than the current temperature. The cone should be kept at anticipated test temperature (not frozen from being outside overnite and not heated by direct sunshine) to avoid possible issues.
Why should I take a baseline on test completion? | It is recommended to take a finish baseline (with the cone in the same position as the beginning baseline) as a reference point for future data reviews. Having this baseline shows the condition of the cone after the push. With the baselines before and after being approximately the same it shows the cone likely worked properly for the entire depth of push
My depth is showing too much or too little depth compare to actual rod movement | When using potentiometer it is very important to set the depth “0m” and “1m” with exactly one meter of potentiometer movement. This can only be set after the cone and datapack have been ‘found’ but can be seen on the standard setup screen once accomplished. With the standard 80” unit the difference between 0 & 1 meter will be approx. 1 volt
I get no depth or speed indications when pushing | The green clamp indication must be on to have speed and depth functionality. In system set up verify that the potentiometer output does change when moving the string pot. Verify that the proper depth selections are checked.
I checked the above and I still do not get any depth or speed changes | From the testing screen select monitor channels/datapack and make sure the depth voltage is changing with string movement. Make sure no rebound is being shown as depth will not accumulate until the rebound is satisfied
I seem to have not recorded all the depth pushed. The speed is correct when pushing but I think I pushed one more rod than my depth indicates | Depth is only recorded when the clamp indicates ‘green’. While testing in the manual mode it is up to the operator to turn this on and off. In the auto mode this indication should be monitored to make sure that the mode is changing. Auto mode relies on clamp pressure or a switch position and the operator should not engage pushing until these have turned the clamp indication green
How do I change the units displayed on the test screen | In Setup each module type has its own section for setting display and recording options. (so a seismic cone can have different display units than a non seismic cone)
I have trouble seeing the graphs outdoors on the black background. | Display Settings (top left of setup screen) can be used to switch to outdoor use (black line on white background). You can also make the data lines heavier. And a larger, black mouse pointer (change this in control panel) is often helpful for outdoor computer use
How do I change the displayed channels or the order of them for testing? | Each graph section on the test screen has a drop down box at the top to select the item for display.
During a test one of the graphs went off the left side of the graph area and I cannot see it. | The graphs default to zero on the left side: to display negatives (which can occur in some tests) right click on the graph area and set the scale to the desired range) This feature can also be used to override the auto scaling.
How do I change the displayed channels or the order of them for testing? | Each graph section on the test screen has a drop down box at the top to select the item for display.
I am in really soft soils and want to see more tip response during the push | On the right side of the test screen reduce the number of graphs, this will make each graph wider and provide a better visual on tip or sleeve response. You can display only one channel if desired (all the others will still be recorded for processing
My quits warning never comes on- even when I exceed inclination | Quits activated must be selected ‘yes’ on the set up screen AND the desired percentage or fixed pressure must be entered on the SETQUITS screen (accessed from top left of setup screen)
My raw data files only have lines of data recorded every 5 cm. How do I get more frequent data points? | The VTK series allows you to choose time based or depth based data line spacing on the system setup screen. Continuous will provide the most data lines possible – for even steps recommend depth based and setting 10 or 20 mm, too close together will bog down communications.
I am recording 4 files for each standard CPT test. What are they and do I need them all? | Processing files in CONEPLOT only requires the **.dat files. To only save this file select CONEPLOT in DAT File Format in Setup. Selecting Coneplot and ProDat will generate a *.dat_pd file for use with the legacy VERTEK software (ProDat or CPT Processor)The other two files that can be generated are the TMP and TRB files which save lines of data without regard for clamp indication (one based on time and one based on depth) These are not used for, or necessary for, data processing but can be used to troubleshoot some data collection issues. This can be selected off in system setup
I get an error when I go to start a seismic test. | Measurement Computing program INSTACAL must be run initially on the computer to find the data pack device and call it board “0”. Until this is run the trigger circuit will not work
As I go deeper my seismic wave becomes very difficult to see on the screen (very little amplitude) | Select more gain on the geophone you are testing before the strike or select AUTO ENHANCE (this is available on either the setup screen or the seismic test screen)
As I go deeper my seismic wave has moved way to the right on the screen | Select more time in the INTERVAL setting. 100 ms is usually fine for shallow tests but will need to be increased for deeper testing. It is good to keep the entire wave visible on the screen as only the duration selected is recorded!
As I go deeper my seismic wave is getting much noisier (wave is ‘fuzzy’) | As above you can select auto Filter to help with this.The noise and amplitude can be processed after the testing if desired but the operator should be sure to save good looking waves.